## SASOL NIR 2017
Annexure 1: Sasol’s 2017 GHG submission to the national GHG reporting regulations | [13 empty] | GREENHOUSE GAS (GHG) EMISSIONS
Name of data provider |  | Herman van der Walt / Shamini Harrington | [11 empty] | Sasol South Africa Limited is registered as required in terms of the National Greenhouse Gas
Data provider identification |  | 170500107 | [11 empty] | Emission Reporting Regulations, section 5 (1) with the Department of Environmental Affairs
Date of submission |  | 2018-03-31 | [11 empty] | (DEA). Data has been submitted to the DEA on 31 March 2018 for calendar year 2017 as per
Year of data |  | 2017 (January to December 2017) | [11 empty] | the requirements set out in Annexure 3 of the Regulations. The GHG emissions and activity
Comments: Activity data has been supplied. A carbon mass balance has been used to determine GHG data. In most cases the activity data cannot be directly translated to GHG data. Flaring activity data cannot be supplied due to various streams entering the flare at any given time. | [13 empty] | data relates specifically to all the registered Sasol facilities.
IPCC code | Sub category (disaggregated by fuel / product type / production process) | Activity data |  |  | Emissions (tonnes/year)
|  | Name of activity data | Value of activity data | Units of activity data | CO2 |  |  | CH4 |  |  | N20
[5 empty] | Value | Tier | Reference - technical guidelines | Value | Tier | Reference - technical guidelines | Value | Tier | Reference - technical guidelines | Numeric conversion
1A1 | 1A1c | Boiler coal combustion | 14977374 | tonnes of run of mine coal | 25429246 | 3 | Page 52-54 | 300 | 1 | Page 52-54 | 449 | 1 | Page 52-54 | 449
1A1 | 1A1c | Gas to power plants | 750271 | kNm3 | 1420641 | 3 | Page 52-54 | 25.3 | 1 | Page 52-54 | 2.53 | 1 | Page 52-54 | 2.53 | Gas | 30.7611 | PJ
1A1 | 1A1c | Fuel gas combustion | 28640347 | GJ | 1194110 | 3 | Page 52-54 | 21.3 | 1 | Page 52-54 | 2.13 | 1 | Page 52-54 | 2.13 | Gas | 28.6403 | PJ
1A1 | 1A1c | Fuel oil combustion | 1100948 | GJ | 118860 | 3 | Page 52-54 | 4.6 | 1 | Page 52-54 | 0.92 | 1 | Page 52-54 | 0.92
1A1 | 1A1c | Sasol catalytic cracker | 1199845 | kNm3 | 188429 | 3 | Page 52-54 | 7.3 | 1 | Page 52-54 | 1.46 | 1 | Page 52-54 | 1.46
1A1 | 1A1c | Wet sulphuric acid combustion emissions | 177871 | kNm3 | 68055 | 3 | Page 52-54 | 1.2 | 1 | Page 52-54 | 0.12 | 1 | Page 52-54 | 0.12
1A | 1A1c | Natural gas combustion | 910988 | GJ natural gas | 39454 | 3 | Page 52-54 | 0.7 | 1 | Page 52-54 | 0.07 | 1 | Page 52-54 | 0.07 | Gas | 0.91099 | PJ | ?Flaring
1B | 1B3 | Other energy industries: process emissions | 30042216 | kNm3 (pure gas rate for CTL/GTC) | 23227198 | 3 | Page 52-54 | 96416 | 3 | Page 52-54 | 0 |  |  | 0
1B | 1B3 | Flaring emissions | No activity data due to complexity of the process | N/A | 2027278 | 3 | Page 52-54 | NA | NA | NA | NA | NA | NA | NA
1B | 1B3 | Wet sulphuric acid process emissions | 177871 | kNm3 | 309044 | 3 | Page 52-54 | NA | NA | NA | NA | NA | NA | NA
1B | 1B3 | Butanol stripper | 182658 | tonnes of butanol | 15323 | 3 | Page 52-54 | NA | NA | NA | NA | NA | NA | NA
4D | 4D2 | Process water dams | 23360 | tonnes process water feed | 7065 | 3 | Page 52-54 | 3853 | 3 | Page 52-54 | 0 |  |  | 0
4D | 4D2 | Water recovery (including domestic sewage) | 119401 | tonnes COD | 180962 | 3 | Page 52-54 | NA | NA | NA | NA | NA | NA | NA
2B | 2B2 | Nitric acid production | 643962 | tonnes of nitric acid | NA | NA | NA | NA | NA | NA | 692 | 3 | Page 52-54 | 692
2B | 2B1 | Ammonia production | 313043 | tonnes of ammonia | 241415 | 3 | Page 52-54 | 7962 | 3 | Page 52-54 | NA | NA | NA | NA
1B | 1B1 | Sasol Mining | 40020782 | tonnes of coal mined | 0 | NA | NA | 3229 | 2 | Page 52-54 | NA | NA | NA | NA
1B2 | 1B2b | Natural gas venting from the pipeline | 4555664 | kNm3 of natural gas | 0 | NA | NA | 243 | 2 | Page 52-54 | NA | NA | NA | NA
4C | 4C2 | Open burning of waste | Not applicable (NA) | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
1A5 | 1A5b | Mobile combustion: Mining machinery | 245406 | litres of petrol and diesel | 19410 | 1 | Carbon budget reporting requirement | NA | NA | NA | NA | NA | NA | NA
totals: |  |  |  |  | CO2 |  |  | CH4 |  |  | N20
IPCC code
1A* |  |  |  |  | 28478205 |  | 7568.4 | 360.4 |  | 141431.3 | 456.23
1B* |  | F-T coal | 25043408 |  | 25578843 |  | 2097648 | 99888 |  | 0 | 0
2B* |  |  |  |  | 241415 |  | 167202 | 7962 |  | 214520 | 692
4D* |  |  |  |  | 188027 |  | 80913 | 3853 |  | 0 | 0
Are we double counting or undercounting emissions from Sasolburg? |  |  |  | tonnes | 54486490 |  |  | 112063.4 |  |  | 1148.23
|  |  |  | CO2eq (Mt) | 54.4865 |  |  | 2.3533 |  |  | 0.35595
|  |  |  | Total CO2eq (Mt) | 57.1958
|  |  | Additional emissions not accounted for in SATIM | excl. mobile, waste & mining:fugitive | 56.177 | 1.781%
GWPs
CH4 | 21 | DSR: Second Assessment Report
N2O | 310 | DSR: Second Assessment Report
1953
Note: the following is assumed in the calculation: Coal = 0.089 t CO2 / GJ (source: EIA/DOE) Gas = 0.05 t CO2 / GJ (source: EIA/DOE) MRG = 0.05 t CO2/GJ (source: Sasol).
2015/16 CDP submission
Note on A17: Fadiel Ahjum: GAS split between sasolburg/secunda
Note on A32: Fadiel Ahjum: Fuel Combustion Activities
Note on A33: Fadiel Ahjum: Fugitive Emissions from Fuels
Note on A34: Fadiel Ahjum: INDUSTRIAL PROCESSES AND PRODUCT USE: Chemical Industry
Note on A35: Fadiel Ahjum: WASTE: Wastewater Treatment and Discharge

## SASOL Commodities
https://www.sasol.com/sites/default/files/financial_reports/Additional%20Analyst%20Information%20-%2031%20December%202017.pdf | [12 empty] | Additional Analyst information for the the six months ended 31 December 2019
total |  | 100% | 7834 | ktpa
refined product |  | 0.48621 | 3809 | ktpa
heating fuels |  | 0.087312 | 684 | ktpa
alcohols/ketones |  | 0.082589 | 647 | ktpa | [10 empty] | FY2019
other chem |  | 0.25109 | 1967 | ktpa | [8 empty] | Own Capacity |  | 1110.44
gasification |  | 0.07544 | 591 | ktpa | 34373.5211 | TJ | [6 empty] | Own Production |  | 828.92
other |  | 0.01736 | 136 | ktpa
[13 empty] | secunda coal |  | 600
[13 empty] | secunda GT | 118 | 236
|  | internal sales | 41.5 | Mt | SASOL Additional Analyst Information - 31 December 2017 2018 | [7 empty] | sasolburg GE |  | 140
|  | saleable production | 36 | Mt | SASOL Additional Analyst Information - 31 December 2017 2019 | [7 empty] | sasolburg coal |  | 134.44 | ?
|  | external purchases | 8 | Mt | SASOL Production and Sales metrics for the six months ended 31 December 2019
|  | external sales | 3 | Mt | SASOL Production and Sales metrics for the six months ended 31 December 2020
Usage by business stream:
| energy |  | 23.8 | Mt | SASOL Production and Sales metrics for the six months ended 31 December 2017
| base chemicals |  | 12.9 | Mt | SASOL Production and Sales metrics for the six months ended 31 December 2017
| performance chemicals |  | 4.8 | Mt | SASOL Production and Sales metrics for the six months ended 31 December 2017
|  | total - exports | 41 | Mt
|  | stock change? | 0.5 | Mt
|  | adjusted total usage | 41.5 | Mt
|  | Coal CV (Synfuels) (DEA, 2016) | 20.84 | GJ/ton | secunda
|  |  | 18.67 | GJ/ton | sasolburg
|  | total | 14.9774 | Mt | combustion |  | sasoburg | MWe | 140 | gas engines | 0.44 | EFFe
|  | secunda | 13.7774 | Mt | combustion |  | ? | MWt | 20 | hest-recovery- cogen
|  | sasolburg | 1.2 | Mt | combustion
[7 empty] | secunda | MWe | 240 | OCGT
|  | secunda | 287.1205 | PJ | combustion |  | ? | MWt | 40 | CCGT?
|  | sasolburg | 22.404 | PJ | combustion
|  | sasol | 26.5226 | Mt | process
|  | sasol | 552.7315 | PJ | process
|  | secunda | 552.7315 | PJ | process
|  | sasolburg | 0 | PJ | process
Sasol internal use of gas
|  | base chemicals | 34.0956 | bcf->PJ
|  | performance chemicals | 40.8688 | bcf->PJ
|  | energy | 51.2008 | bcf->PJ
|  | total | 126.1652 | PJ
|  | 2012 | 2017
Gas to FT process Secunda | process | 36.05% | 23.65%
Gas to Gas Turbines - Secunda | combustion | 18% | 19.32%
Gas to Gas Engines - Sasolburg | combustion | 0.4023% | 10.54%
Gas to FT process -Sasolburg | process | 43.85% | 46.48%
PJ
| FT gas | 55.8327 | 88.4833
37.6819
|  |  | COAL | GAS
[5 empty] | secunda | combustion
| production |  |  |  | Mt | PJ
| Mt | PJ |  |  | 13.7774 | 287.1205
| 36 | 747.636
| export |  |  |  | secunda | process
| Mt | PJ |  |  | Mt | PJ
| 3 |  |  |  | 26.5226 | 552.7315
import
| Mt | PJ |  |  | sasolburg | combustion
| 8 |  |  |  | Mt | PJ
| Gas |  |  |  | 1.2 | 22.404
| bcf | PJ
|  | 126.1652 |  |  | sasolburg | process
[5 empty] | Mt | PJ
[5 empty] | 0 | 0
[5 empty] | secunda | combustion
[5 empty] | m3 | PJ
[5 empty] | 45.9288 | 52.7263 | 88.76% |  | total | gas
[9 empty] | m3 | PJ
[5 empty] | sasolburg | combustion |  |  | 109.9 | 126.1652
[5 empty] | m3 | PJ
[5 empty] | 5.8146 | 6.6752 | 11.24% |  | total | combustion | CDP (2015/16)
[9 empty] | m3 | PJ | PJ
[5 empty] | secunda | process |  |  | 51.7434 | 59.4015 | 66.2614
[5 empty] | m3 | PJ
[5 empty] | 19.6149 | 22.5179 | 33.73%
total process
[5 empty] | sasolburg | process |  |  | m3 | PJ
[5 empty] | m3 | PJ |  |  | 58.1566 | 66.7637
[5 empty] | 38.5417 | 44.2458 | 66.27%
Note on A14: Fadiel: Methane rich gas?
Note on C32: Fadiel Ahjum: DEA 2016 calculationofcountryspecificemissionfactors : Secunda Avg
Note on J35: Fadiel: 140 - 180 MW https://www.sasol.com/media-centre/media-releases/south-africa-s-first-gas-fired-power-plant-fully-operational WSP (2011) 10 Petajoules per annum (PJ/a). The proposed GEPP will be developed in two phases. Phase 1 will entail an open cycle power plant with an output capacity of approximately 180 megawatts (MW), while phase 2 entails conversion to a combined cycle (heat recovery) that will generate an additional 20 MW. The plant will use several gas engines, with a natural gas consumption of approximately 10 Petajoules per annum (PJ/a). The capacity of individual gas engine units will vary between 4 MW and 10 MW per engine.
Note on K35: Fadiel:W20V34SG Wärtsilä’s W20V34SG GAS ENGINE https://www.sasol.com/media-centre/media-releases/south-africa-s-first-gas-fired-power-plant-fully-operational
Note on L35: Fadiel: J-PSundell 2011
Note on K38: Fadiel: GE PG9171E http://sde.co.za/power-generation/ https://www.power-eng.com/2008/11/21/ge-sasol-sign-service-agreement-for-power-project/
Note on C50: Fadiel: Base Chemicals markets a broad portfolio of commodity chemicals globally. The business consists of three key divisions: Polymers, Solvents, and Fertilisers.Our key products include polymers (polyethylene, polypropylene, polyvinyl chloride); solvents (ketones, alcohols, acrylates), chlor-alkali chemicals (caustic soda, hydrochloric acid) and phenolics; as well as mining reagents (cyanide); ammonium nitrate base products; and sulphur derivatives. https://www.sasol.com/about-sasol/strategic-business-units/chemical-business/base-chemicals/overview
Note on C51: Fadiel: Sasol Performance Chemicals develops and markets a broad portfolio of organic and inorganic commodity and specialty chemicals and comprises three key business divisions: Organics, Advanced Materials and Wax. Our offices in 18 countries serve customers around the world with a multifaceted portfolio of state-of-the-art chemical products and solutions for a wide range of applications and industries. Surfactants, surfactant intermediates, fatty alcohols, linear alkyl benzene (LAB), short-chain linear alpha olefins, mineral oil-based and synthetic paraffin waxes, high-purity and ultra-high-purity alumina as well as high-quality carbon solutions form the basis of our key product range.
Note on C52: Fadiel: The Energy Business manages the marketing and sales of all oil, gas and electricity products in Southern Africa, which have been consolidated under a single umbrella. In addition, this cluster oversees Sasol’s international GTL (gas to liquid) ventures in Qatar and Nigeria.
Note on C56: Fadiel: Actual shares. Derek B (2013)

## NERSA2017
Licence Number | Licensee Name | Licence Type | Power Station Name | System Used/Power Station Type | Period | Calendar Year | Licensed Capacity (MW) | Energy Generated (MWh) | Auxilary Consumption (MWh) | Gross Energy sent out (MWh) | Power Imports (MWh) | Net Energy sent out (MWh) | Energy consumed on site (MWh) | External Sales (MWh)
NERSA/IPP/EC109/2014 | AC Whitcher (Pty) Ltd | Private | AC Whitcher Sawmill | Biomass | January-December 2017 | 2017 | 0.8 | 6714 | 0 | 6714 | 618.045 | 6714 | 7332.045 | 0
NERSA/IPP/NC/658-268 | ACWA Power Solafrica Bokpoort CSP Power Plant (Pty) Ltd | Private | Bokpoort CSP Power Plant | Concentrated Solar Power (CSP) | January-December 2017 | 2017 | 50 | 219994.4196 | 22710.4176 | 197284.0019 | 5840.2599 | 197284.0019 | 0 | 197284.0019
NER/IPP/NC/658-73 | Adams Solar PV Project 2 (Pty) Ltd | Private | Adams Solar PV | Solar Photovoltaic (PV) | January-December 2017 | 2017 | 75 | 154104.0896 | 0 | 154104.0896 | 1044.923 | 153059.1666 | 0 | 153059.1666
NERSA/IPP/NC/658-112 | AE-AMD Independent Power Producer 1 (Pty) Ltd | Private | Greefspan PV Power Plant | Solar Photovoltaic (PV) | January-December 2017 | 2017 | 10 | 27156.5039 | 0 | 27156.5039 | 102.5068 | 27156.5039 | 31.232 | 27156.5039
NER/IPP/NC/658-60 | AE-AMD Independent Power Producer 3 (Pty) Ltd | Private | Herbert PV Power Plant | Solar Photovoltaic (PV) | January-December 2017 | 2017 | 19.98 | 53326.6455 | 0 | 53326.6455 | 181.5196 | 53326.6455 | 33.695 | 53326.6455
NER/G/KELVIN | AES Kelvin Power (Pty) Ltd | Private | Kelvin | Coal | January-December 2017 | 2017 | 600 | 1636523 | 138108 | 1498595 | 0 | 1498595 | 0 | 1498595 | 0.28512
NERSA/IPP/EC/658-269 | Amakhala Emoyeni Re Project 1 (Pty) Ltd | Private | Amakhala Emoyeni Wind Farm | Wind | January-December 2017 | 2017 | 133.7 | 418544.176 | 0 | 418544.176 | 266.45 | 413188.87 | 251.953 | 410001.85
NERSA/IPP/WC/658-277 | Aurora Wind Power (RF) (Pty) Ltd | Private | West Coast 1 | Wind | January-December 2017 | 2017 | 90.8 | 316737.0497 | 0 | 316737.0497 | 340.1697 | 316396.88 | 298.4358 | 316737.0497
NERSA/IPP/WC/658-270 | Aurora-Rietvlei Solar Power (RF) (Pty) Ltd | Private | Aurora Rietvlei Solar Power | Solar Photovoltaic (PV) | January-December 2017 | 2017 | 9 | 19617.45 | 95.743 | 19713.193 | 0 | 19617.45 | 0 | 19617.45
NERSA/IPP/KZN/658-133 | Avon Peaking Power (Pty) Ltd | Private | Avon generation station | Gas | January-December 2017 | 2017 | 670 | 75875.2 | 551.29 | 75323.91 | 13773.31 | 75323.91 | 0 | 75323.91 | 0.012834
NERSA/G/BET-IPP | Bethlehem Hydro (Pty) Ltd | Private | Merino | Hydro | January-December 2017 | 2017 | 4 | 27547.778 | 0 | 27547.778 | 0 | 27547.778 | 11.9 | 27535.878
NERSA/G/BET-IPP | Bethlehem Hydro (Pty) Ltd | Private | Sol Plaatje | Hydro | January-December 2017 | 2017 | 3 | 17168.92 | 0 | 17168.92 | 0 | 17168.92 | 8.3 | 17160.62
NERSA/IPP/NC/658-271 | Blue Falcon 140 Trading (Pty) Ltd | Private | Gouda Wind Energy Facility | Wind | January-December 2017 | 2017 | 135.2 | 369651.2455 | 0 | 369651.2455 | 0 | 369651.2455 | 3425.373 | 369651.2455
NERSA/IPP/GP/658-326 | Bronkhorstspruit Biogas Plant (Pty) Ltd | Private | Bronkhorstspruit Biogas Plant | Biogas | January-December 2017 | 2017 | 4.2 | 22425.901 | 3331.026 | 19094.875 | 0 | 19094.875 | 0 | 19094.875
NERSA/IPP/NC/658-272 | Chaba Wind Power (Pty) Ltd | Private | Chaba Wind Farm Project | Wind | January-December 2017 | 2017 | 21 | 58298.1905 | 0 | 58297.5621 | 141.8041 | 58155.9827 | 0 | 58155.9827
0820655 | City of Cape Town | Municipality | Athlone Gas Turbine | Gas | January-December 2017 | 2017 | 40 | 0 | 64.407 | -64.407 | 0 | -64.407 | 0 | 0 | 0
0820655 | City of Cape Town | Municipality | Roggebaai Gas Turbine | Gas | January-December 2017 | 2017 | 40 | 6.4 | 11.744 | -5.344 | 0 | -5.344 | 0 | 0 | 0
0820655 | City of Cape Town | Municipality | Steenbras | Pumped Storage | January-December 2017 | 2017 | 180 | 18289.125 | 237.925 | 18051.2 | 25739 | -7687.8 | 0 | 0
NER/G/TSHW | City of Tshwane | Municipality | Rooiwal | Coal | January-December 2017 | 2017 | 300 | 0 | 0 | 0 | 5114.4 | -5114.4 | 0 | -5114.4
NER/G/TSHW | City of Tshwane | Municipality | Pretoria West | Coal and Gas | January-December 2017 | 2017 | 204 | 20347 | 0 | 20347 | 1434 | 18913 | 5389 | 13524
NERSA/G/CKL-IPP | Clackson Power Company (Pty) Ltd | Private | Clanwilliam Dam Hydo Power Station | Hydro | January-December 2017 | 2017 | 1.5 | 5141.77 | 61.4 | 5080.37 | 0 | 5080.37 | 0 | 5080.37
NERSA/IPP/LP/882-29 | Core Energy (Pty) Ltd | Private | Core Energy (Pty) Ltd | Solar Photovoltaic (PV) | January-December 2017 | 2017 | 30 | 61117.1275 | 0 | 61117.1275 | 375.8225 | 60741.305 | 0 | 60741.305
NERSA/IPP/NC/468-21 | Coria (PKF) Investment 28 (Pty) Ltd | Private | Noblesfontein Wind Farm | Wind | January-December 2017 | 2017 | 75 | 196760.748 | 490.4 | 196270.348 | 0 | 196270.348 | 490.4 | 196270.348
NERSA/IPP/WP/1033-194 | CPV Power Plant No.1 (Pty) Ltd | Private | CPV Power Plant No.1 | Solar Photovoltaic (PV) | January-December 2017 | 2017 | 36 | 75554.3392 | 0 | 75554.3392 | 491.2574 | 75063.0818 | 0 | 75505.8745
NER/G/IPP/DAR | Darling Independent Power Producer (Pty) Ltd | Private | Darlipp (Pty) Ltd | Wind | January-December 2017 | 2017 | 5.2 | 7216.95 | 0 | 7216.95 | 69.922 | 7147.028 | 0 | 7147.028
NERSA/IPP/EC/658-134 | Dedisa Peaking Power (Pty) Ltd | Private | Dedisa generation station | Gas | January-December 2017 | 2017 | 335 | 43306.9 | 587.47 | 42719.43 | 6742.51 | 42719.43 | 0 | 42719.43 | 0.014557
NERSA/IPP/EC/658-128 | Dorper Wind Farm (Pty) Ltd | Private | Dorper Wind Farm | Wind | January-December 2017 | 2017 | 100 | 296719.632 | 0 | 296719.632 | 316.3998 | 290192.8666 | 316.3998 | 290192.8666
NER/IPP/WC/658-409 | Electra Capital (Pty) Ltd | Private | Paleisheuwel Solar Park | Solar Photovoltaic (PV) | January-December 2017 | 2017 | 75 | 152987.1589 | 0 | 152987.1589 | 1064.977 | 151922.1819 | 0 | 151922.1819
NERSA/IPP/EC232/2011 | Electrawinds Africa and Indian Ocean Islands (Pty) Ltd | Private | Electrawinds Wind Turbine | Wind | January-December 2017 | 2017 | 1.8 | 5525.45 | 0 | 5525.45 | 0 | 5525.45 | 0 | 5525.45
NER/IPP/GP/658-400 | Energy Joburg (RF) (Pty) Ltd | Private | Robinsons Deep Site | Methane Gas | January-December 2017 | 2017 | 3 | 27959.786 | 0 | 27959.786 | 0 | 27959.786 | 0 | 27959.786
NER/IPP/GP/658-400 | Energy Joburg (RF) (Pty) Ltd | Private | Goudkoppies Site | Methane Gas | January-December 2017 | 2017 | 5 | 3111.278 | 0 | 3111.278 | 0 | 3111.278 | 0 | 3111.278
NERSA/IPP/L/1033-195 | Erika Energy (Pty) Ltd | Private | Southpan Solar Park | Solar Photovoltaic (PV) | January-December 2017 | 2017 | 28 | 59418.6 | 0 | 59418.6 | 641.4309 | 58777.1691 | 0 | 58777.1691
NER/G/Eskom | Eskom Holdings (Pty) Ltd | Eskom | Arnot | Coal | January-December 2017 | 2017 | 1980 | 10777095.55 | 810378.11 | 9966717.44 | 0 | 9966717.44 | 0 | 9966717.44
NER/G/Eskom | Eskom Holdings (Pty) Ltd | Eskom | Camden | Coal | January-December 2017 | 2017 | 1520 | 7087587.9448 | 428921.5548 | 6658666.39 | 0 | 6658666.39 | 0 | 6658666.39
NER/G/Eskom | Eskom Holdings (Pty) Ltd | Eskom | Duvha | Coal | January-December 2017 | 2017 | 3450 | 16256927.938 | 1225846.018 | 15031081.92 | 0 | 15031081.92 | 0 | 15031081.92
NER/G/Eskom | Eskom Holdings (Pty) Ltd | Eskom | Grootvlei | Coal | January-December 2017 | 2017 | 1130 | 3846835.504 | 325178.634 | 3521656.87 | 0 | 3521656.87 | 0 | 3521656.87
NER/G/Eskom | Eskom Holdings (Pty) Ltd | Eskom | Hendrina | Coal | January-December 2017 | 2017 | 1900 | 8277542.528 | 623045.468 | 7654497.06 | 0 | 7654497.06 | 0 | 7654497.06
NER/G/Eskom | Eskom Holdings (Pty) Ltd | Eskom | Kendal | Coal | January-December 2017 | 2017 | 3840 | 27372940.41 | 2100668.5 | 25272271.91 | 0 | 25272271.91 | 0 | 25272271.91
NER/G/Eskom | Eskom Holdings (Pty) Ltd | Eskom | Komati | Coal | January-December 2017 | 2017 | 1000 | 2598873.14 | 180096.81 | 2418776.33 | 0 | 2418776.33 | 0 | 2418776.33
NER/G/Eskom | Eskom Holdings (Pty) Ltd | Eskom | Kriel | Coal | January-December 2017 | 2017 | 2850 | 13638662.55 | 1129382.97 | 12509279.58 | 0 | 12509279.58 | 0 | 12509279.58
NER/G/Eskom | Eskom Holdings (Pty) Ltd | Eskom | Lethabo | Coal | January-December 2017 | 2017 | 3558 | 21228523.1 | 1206633.1 | 20021890 | 0 | 20021890 | 0 | 20021890
NER/G/Eskom | Eskom Holdings (Pty) Ltd | Eskom | Majuba | Coal | January-December 2017 | 2017 | 3843 | 25417656.995 | 2050102.355 | 23367554.64 | 0 | 23367554.64 | 0 | 23367554.64
NER/G/Eskom | Eskom Holdings (Pty) Ltd | Eskom | Matimba | Coal | January-December 2017 | 2017 | 3690 | 28259683.3773 | 2453046.6673 | 25806636.71 | 0 | 25806636.71 | 0 | 25806636.71
NER/G/Eskom | Eskom Holdings (Pty) Ltd | Eskom | Matla | Coal | January-December 2017 | 2017 | 3450 | 19880712.8 | 1176929.41 | 18703783.39 | 0 | 18703783.39 | 0 | 18703783.39
NER/G/Eskom | Eskom Holdings (Pty) Ltd | Eskom | Tutuka | Coal | January-December 2017 | 2017 | 3510 | 17601379.5048 | 1128053.7048 | 16473325.8 | 0 | 16473325.8 | 0 | 16473325.8
NER/G/Eskom | Eskom Holdings (Pty) Ltd | Eskom | Acacia | Gas | January-December 2017 | 2017 | 171 | 77 | 4 | 73 | 0 | 73 | 0 | 73 | 4.8733e-05
NER/G/Eskom | Eskom Holdings (Pty) Ltd | Eskom | Ankerlig | Gas | January-December 2017 | 2017 | 588 | 22514.2292 | 64.2292 | 22450 | 0 | 22450 | 0 | 22450 | 0.0043585
NER/G/Eskom | Eskom Holdings (Pty) Ltd | Eskom | Gourikwa | Gas | January-December 2017 | 2017 | 438 | 16326.9601 | 264.3201 | 16062.64 | 0 | 16062.64 | 0 | 16062.64 | 0.0041864
NER/G/Eskom | Eskom Holdings (Pty) Ltd | Eskom | Port Rex | Gas | January-December 2017 | 2017 | 171 | 65 | 0 | 65 | 0 | 65 | 0 | 65 | 4.3392e-05
NER/G/Eskom | Eskom Holdings (Pty) Ltd | Eskom | Gariep | Hydro | January-December 2017 | 2017 | 360 | 342073 | 371.84 | 341701.16 | 0 | 341701.16 | 0 | 341701.16
NER/G/Eskom | Eskom Holdings (Pty) Ltd | Eskom | Vanderkloof | Hydro | January-December 2017 | 2017 | 240 | 351159 | 2565.8 | 348593.2 | 0 | 348593.2 | 0 | 348593.2
NER/G/Eskom | Eskom Holdings (Pty) Ltd | Eskom | Koeberg | Nuclear | January-December 2017 | 2017 | 1870 | 15743187 | 656303 | 15086884 | 0 | 15086884 | 0 | 15086884
NER/G/Eskom | Eskom Holdings (Pty) Ltd | Eskom | Drakensberg | Pumped Storage | January-December 2017 | 2017 | 1000 | 1478450 | 4462.96 | 1473987.04 | 2359516.86 | -885529.82 | 0 | -885529.82
NER/G/Eskom | Eskom Holdings (Pty) Ltd | Eskom | Palmiet | Pumped Storage | January-December 2017 | 2017 | 400 | 589957 | 494.97 | 589462.03 | 776185.54 | -186723.51 | 0 | -186723.51
NER/G/Eskom | Eskom Holdings (Pty) Ltd | Eskom | Ncora | Hydro | January-December 2017 | 2017 | 2.1 | 1739.5433 | 0 | 1739.5433 | 0 | 1739.5433 | 0 | 1739.5433
NER/G/Eskom | Eskom Holdings (Pty) Ltd | Eskom | Mbashe | Hydro | January-December 2017 | 2017 | 42 | 9291.2019 | 0 | 9291.2019 | 0 | 9291.2019 | 0 | 9291.2019
NER/G/Eskom | Eskom Holdings (Pty) Ltd | Eskom | First Falls | Hydro | January-December 2017 | 2017 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NER/G/Eskom | Eskom Holdings (Pty) Ltd | Eskom | Second Falls | Hydro | January-December 2017 | 2017 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NER/G/Eskom | Eskom Holdings (Pty) Ltd | Eskom | Sere Wind Farm | Wind | January-December 2017 | 2017 | 105.8 | 342692.445 | 3972.191 | 338720.254 | 656.2735 | 338063.9805 | 0 | 338063.9805
NER/G/Eskom | Eskom Holdings (Pty) Ltd | Eskom | Medupi | Coal | January-December 2017 | 2017 | 4500 | 8513966.71 | 669305.63 | 7844661.08 | 0 | 7844661.08 | 0 | 7844661.08
NER/G/Eskom | Eskom Holdings (Pty) Ltd | Eskom | Ingula | Pumped Storage | January-December 2017 | 2017 | 1332 | 1982881 | 55509.03 | 1927371.97 | 2409225.11 | -481853.14 | 0 | -481853.14
NER/G/Eskom | Eskom Holdings (Pty) Ltd | Eskom | Kusile | Coal | January-December 2017 | 2017 | 4800 | 1530743.41 | 151144.41 | 1379599 | 0 | 1379599 | 0 | 1379599
NERSA/IPP/NC/658-273 | Firefly Investments 230 (RF) (Pty) Ltd | Private | Boshoff Solar Park | Solar Photovoltaic (PV) | January-December 2017 | 2017 | 60 | 121351.425 | 0 | 121351.425 | 766.619 | 120584.806 | 0 | 120584.806
NER/IPP/EC/658-62 | Firefly Investments 253 (Pty) Ltd | Private | Letsatsi PV | Solar Photovoltaic (PV) | January-December 2017 | 2017 | 64 | 143418.7435 | 1215.9205 | 142202.8215 | 0 | 142202.8215 | 0 | 142202.8215
199-295-1 | Friedenheim Irrigation Board | Private | Friedenheim | Hydro | January-December 2017 | 2017 | 2.5 | 12971.9232 | 0 | 12971.9232 | 0 | 12971.9232 | 129.7192 | 12842.204
NER/IPP/NC/468-41 | Gibson Bay Wind Farm (Pty) Ltd | Private | Gibson Bay Wind Power | Wind | January-December 2017 | 2017 | 111 | 317019.86 | 0 | 317019.86 | 209.877 | 316809.983 | 0 | 316809.983
NERSA/IPP/EC/658-274 | Grassridge Wind Power (Pty) Ltd | Private | Grassridge Wind Farm | Wind | January-December 2017 | 2017 | 59.8 | 171057.8875 | 0 | 171057.8875 | 456.454 | 170601.4335 | 0 | 170601.4335
NER/G/KZ226/01 | Illovo Sugar South Africa Limited | Private | Eston Mill | Bagasse | January-December 2017 | 2017 | 2 | 30259.7 | 28593.16 | 1666.54 | 1949.52 | -282.98 | 30542.68 | 1666.54
NERSA/IPP/NC/658-275 | Jasper Power Company (Pty) Ltd | Private | Jasper Power Company | Solar Photovoltaic (PV) | January-December 2017 | 2017 | 75 | 182730.2625 | 0 | 182730.2625 | 934.8545 | 181795.408 | 37.97 | 181757.438
NER/IPP/EC/658-138 | Jeffreys Bay Wind Farm (RF) (Pty) Ltd | Private | Jeffreys Bay Wind Farm | Wind | January-December 2017 | 2017 | 133.86 | 443016.7923 | 0 | 443016.7923 | 722.3146 | 442294.4777 | 0 | 442294.4777
NER/IPP/NC/658-137 | Ka Xu Solar One (Pty) Ltd | Private | Ka Xu Solar One | Concentrated Solar Power (CSP) | January-December 2017 | 2017 | 100 | 238775.6788 | 21012.841 | 238775.6788 | 11656.631 | 217762.8378 | 21012.841 | 217762.8378
NERSA/IPP/NC/658-276 | Kakamas Hydroelectric Power (Pty) Ltd | Private | Kakamas Hydro Electric Power | Hydro | January-December 2017 | 2017 | 10 | 36574.5769 | 0 | 36574.5769 | 9.3432 | 36524.6428 | 0 | 36314.6415
NER/IPP/NC/658-106 | Khi Solar one (Pty) Ltd | Private | Khi Solar one | Concentrated Solar Power (CSP) | January-December 2017 | 2017 | 50 | 85288.6968 | 6936.1327 | 78352.564 | 7552.3658 | 70800.1982 | 14488.4986 | 78352.564
NER/IPP/WC/658-105 | Klipheuwel-Dassiefontein Wind Energy Facility (Pty) Ltd | Private | Dassieklip Wind Energy Facility | Wind | January-December 2017 | 2017 | 27 | 85211.869 | 134.6518 | 85211.869 | 134.6518 | 85211.869 | 134.6518 | 85211.869
NERSA/IPP/EC/468-22 | Kouga Wind Farm (RF) (Pty) Ltd | Private | Kouga Wind Farm | Wind | January-December 2017 | 2017 | 80 | 271094.768 | 0 | 271094.768 | 85.968 | 271008.8 | 0 | 271008.8
NERSA/IPP/NC/658-111 | Limarco 77 (Pty) Ltd | Private | Limarco 77 (Pty) Ltd | Solar Photovoltaic (PV) | January-December 2017 | 2017 | 10 | 21585.0089 | 0 | 21585.0089 | 82.2626 | 21502.7463 | 30.863 | 21585.0089
NER/IPP/WC/658-1016 | L'omarins (Pty) Ltd | Private | L'omarins Hydro Power Plant | Hydro | January-December 2017 | 2017 | 2.415 | 0 | -51571 | 51571 | -4533946 | 4585517 | 4585517 | 0
NER/IPP/NC/658-398 | Longyuan Mulilo De Aar 2 North (Pty) Ltd | Private | Longyuan Mulilo De Aar 2 North Wind Farm | Wind | January-December 2017 | 2017 | 138.96 | 104867.887 | 2997.613 | 101870.274 | 44.903 | 101825.371 | 0 | 101905.728
NER/IPP/NC/658-394 | Longyuan Mulilo De Aar Wind Power (Pty) Ltd | Private | Longyuan Mulilo De Aar Maanhaarberg Wind Energy Facility | Wind | January-December 2017 | 2017 | 96.48 | 81451.952 | 2636.367 | 78815.585 | 59.94 | 78755.645 | 0 | 78822.672
NERSA/G/IPP/MCS | MethCap SPV1 (Proprietary) Limited | Private | Cogeneration Plant Methcap Petro SA | Gas | January-December 2017 | 2017 | 4.248 | 15327.4908 | 0 | 15327.4908 | 543.4713 | 14784.0195 | 0 | 14784.0195 | 0.39729
NERSA/IPP/KZN282/11 | Mondi Limited | Private | Mondi Richards Bay Mill | Spent pulping liquor, Coal and Gas | January-December 2017 | 2017 | 75 | 830203.1126 | 0 | 830203.1126 | 138922.2948 | 969125.4074 | 781865.4529 | 187731.611
NERSA/IPP/MP/2012 | Mpact Limited | Private | Mpact, Piet Retief | Spent Liqour and Coal | January-December 2017 | 2017 | 5.1 | 10391 | 0 | 10391 | 83507 | 0 | 93898 | 0
NER/IPP/NC073/658-71 | Mulilo Renewable Energy Solar De Aar (Pty) Ltd | Private | Mulilo Renewable Energy Solar De Aar | Solar Photovoltaic (PV) | January-December 2017 | 2017 | 10 | 20717.605 | 0 | 20717.605 | 142.6847 | 20717.605 | 113.7327 | 20717.605
NER/IPP/NC077/068-107 | Mulilo Renewable Solar PV Prieska (Pty) Ltd | Private | Mulilo Renewable Solar PV Prieska (Pty) Ltd | Solar Photovoltaic (PV) | January-December 2017 | 2017 | 20 | 41982.509 | 0 | 41982.509 | 300.7593 | 41982.509 | 192.0612 | 41982.509
NER/IPP/NC/822-82 | Mulilo Sonnedix Prieska PV (Pty) Ltd | Private | Mulilo Sonnedix Prieska PV | Solar Photovoltaic (PV) | January-December 2017 | 2017 | 75 | 170023.994 | 0 | 170023.994 | 727.6742 | 170023.994 | 0 | 170023.994
NER/G/Nman | Nelson Mandela Bay Metropolitan Municipality | Municipality | Mount Road Gas Turbine | Gas | January-December 2017 | 2017 | 40 | 0 | 0 | 0 | 3.24 | -3.24 | 3.24 | 0 | 0
NERSA/G/KZ232/01 | Newcastle Cogeneration Limited | Private | Newcastle Cogeneration (Pty) Ltd | Gas | January-December 2017 | 2017 | 13 | 4330.392 | 0 | 4330.392 | 0 | 4330.392 | 0 | 4330.392 | 0.038026
NER/IPP/EC/658-393 | Nojoli Wind Farm (RF) (Pty) Ltd | Private | Nojoli Wind Farm | Wind | January-December 2017 | 2017 | 86.6 | 250053.7602 | 0 | 250053.7602 | 384.188 | 249669.5722 | 0 | 249669.5722
NER/IPP/NC085/068-110 | Oakleaf Investments Holdings 79 (Pty) Ltd | Private | Lesedi PV | Solar Photovoltaic (PV) | January-December 2017 | 2017 | 64 | 150559.6253 | 1170.1021 | 149389.5253 | 0 | 149389.5253 | 0 | 149389.5253
NERSA/IPP/MP313/2012 | Power Alt (Pty) Ltd | Private | Power Alt | Gas | January-December 2017 | 2017 | 10.7 | 7454.78 | 399.29 | 7055.49 | 0 | 7055.49 | 0 | 7055.49 | 0.075273
NER/IPP/FS/658-408 | Pulida Energy (Pty) Ltd | Private | Pulida Solar Park | Solar Photovoltaic (PV) | January-December 2017 | 2017 | 75 | 146726.672 | 0 | 146726.672 | 1073.082 | 145653.59 | 0 | 145653.59
NERSA/IPP/MP/2011 | RCL Foods Sugar and Milling (Pty) Ltd | Private | TSB Komati | Bagasse and Coal | January-December 2017 | 2017 | 4 | 60857 | 0 | 60857 | 8144 | 55423 | 66006 | 2996
NERSA/IPP/MP/2011 | RCL Foods Sugar and Milling (Pty) Ltd | Private | TSB Malelane | Bagasse and Coal | January-December 2017 | 2017 | 3.5 | 85537.72 | 0 | 85555 | 3482.9 | 82072.1 | 71474.2037 | 14175.8613
NERSA/IPP/NC/822-28 | Renewable Energy Investments SA (RF) (Pty) Ltd | Private | Khathu | Solar Photovoltaic (PV) | January-December 2017 | 2017 | 75 | 186582.8277 | 2012.0667 | 184570.761 | 2306.8263 | 172427.4526 | 151.1548 | 179586.8755
NERSA/IPP/EC/658-126 | Renewables Cookhouse Wind Farm 1 (RF) (Pty) Ltd | Private | Cookhouse Wind Farm | Wind | January-December 2017 | 2017 | 138.6 | 329489.945 | 0 | 329489.945 | 1403.954 | 329489.945 | 0 | 321318.712
NERSA/IPP/EC/658-127 | Rubicept (Pty) Ltd | Private | Metro Wind Van Stadens Wind Farm | Wind | January-December 2017 | 2017 | 27 | 71416.5024 | 0 | 71416.5024 | 88.8421 | 71327.6603 | 0 | 71416.5024
NER/IPP/NW/658-55 | Rustmo1 Solar Farm (Pty) Ltd | Private | Rustmo1 Solar Farm (Pty) Ltd | Solar Photovoltaic (PV) | January-December 2017 | 2017 | 7 | 11919.713 | 0 | 11919.713 | 0 | 11919.713 | 0 | 11919.713
NERSA/IPP/NC/822-30 | SAMRP De Aar (RF) (Pty) Ltd | Private | SAMRP De Aar Solar Farm (Pty) Ltd | Solar Photovoltaic (PV) | January-December 2017 | 2017 | 48.5 | 97408.195 | 0 | 97408.195 | 599.195 | 96809 | 0 | 96809
NERSA/IPP/NC/822-31 | SAMRP Droogfontein (RF) (Pty) Ltd | Private | SAMRP Droogfontein Solar Farm (Pty) Ltd | Solar Photovoltaic (PV) | January-December 2017 | 2017 | 48.5 | 91830.3913 | 0 | 91830.3913 | 576.675 | 91253.7163 | 0 | 91253.7163
NER/IPP/NC/658-393 | SAMRP Khobab Wind (Pty) Ltd | Private | Khobab Wind Farm | Wind | January-December 2017 | 2017 | 138 | 40357.99 | 0 | 40357.99 | 18.785 | 40339.205 | 0 | 40339.205
NER/IPP/NC/658-395 | SAMRP Loeriesfontein 2 (Pty) Ltd | Private | Loeriesfontein 2 Wind Farm | Wind | January-December 2017 | 2017 | 138.23 | 41138.535 | 0 | 41138.535 | 25.31 | 41113.225 | 0 | 41113.225
NER/IPP/NC/658-399 | SAMRP Noupoort (Pty) Ltd | Private | Noupoort Wind Farm | Wind | January-December 2017 | 2017 | 79.05 | 293126.1689 | 220.586 | 292905.5829 | 222.573 | 292683.0099 | 0 | 292683.0099
LCE/COGEN/KZN291/2013 | Sappi Southern Africa Ltd | Private | Sappi Saiccor | Spent Pulping Liqour and Coal | January-December 2017 | 2017 | 2 | 228123.61 | 1331.0726 | 226792.5374 | 317983.061 | 0 | 546106.671 | 8360.96
LCE/COGEN/KZN291/2013 | Sappi Southern Africa Ltd | Private | Sappi Ngodwana | Spent Pulping Liqour and Coal | January-December 2017 | 2017 | 2 | 852887.0064 | 0 | 852887.0064 | 26616.4634 | 56998.3886 | 822505.0812 | 87478.2944
NER/IPP/FS/2013 | Sasol South Africa (Pty) Limited | Private | Sasol Chemical Industries Plant | Coal | January-December 2017 | 2017 | 75 | 624420.303 | 0 | 624420.303 | 0 | 624420.303 | 500423.137 | 123997.166
NER/IPP/FS/2013 | Sasol South Africa (Pty) Limited | Private | Sasol Synfuels Steam Plant | Coal | January-December 2017 | 2017 | 130 | 3846458.7126 | 0 | 3846458.7126 | 0 | 3846458.7126 | 3704578.9716 | 141879.741
NER/IPP/FS/2013 | Sasol South Africa (Pty) Limited | Private | Sasolburg Gas Engines Power Plant | Gas | January-December 2017 | 2017 | 35 | 815852.916 | 21223.615 | 794629.301 | 0 | 794629.301 | 794572.7484 | 56.5526 | 0.00018445
NER/IPP/FS/2013 | Sasol South Africa (Pty) Limited | Private | Sasol unit 543 Gas Turbines | Gas | January-December 2017 | 2017 | 200 | 1777011.807 | 19036.4617 | 1757975.3453 | 0 | 1757975.3453 | 1359504.5843 | 398470.761 | 0.22744
NER/IPP/NC/658-83 | Scatec Solar SA 166 (Pty) Ltd | Private | Kalkbult | Solar Photovoltaic (PV) | January-December 2017 | 2017 | 75 | 145984.7445 | 0 | 145984.7445 | 589.5174 | 145395.2271 | 0 | 145395.2271
NERSA/IPP/NC/658-112 | Sevenstones 159 (Pty) Ltd | Private | Sevenstone 159 (Pty) Ltd | Solar Photovoltaic (PV) | January-December 2017 | 2017 | 10 | 21461.508 | 0 | 21461.508 | 81.0642 | 21380.4439 | 27.299 | 21461.508
NERSA/IPP/NC/658-278 | Simacel 155 (Pty) Ltd | Private | Linde | Solar Photovoltaic (PV) | January-December 2017 | 2017 | 36.8 | 88866.8871 | 0 | 82487.9937 | 331.4804 | 82147.9106 | 0 | 82147.9106
NERSA/IPP/NC/658-279 | Simacel 160 (Pty) Ltd | Private | Dreunberg | Solar Photovoltaic (PV) | January-December 2017 | 2017 | 69.6 | 158612.7634 | 0 | 158612.7634 | 578.4569 | 158034.3066 | 0 | 158034.3066
NER/IPP/EC/658-78 | SlimSun (Pty) Ltd | Private | SlimSun Swatland Solar Park | Solar Photovoltaic (PV) | January-December 2017 | 2017 | 5 | 10635.0726 | 0 | 10635.0726 | 33.428 | 10635.0726 | 33.428 | 10635.0726
NER/IPP/NC/658-90 | Solar Capital De Aar (Pty) Ltd | Private | iLanga Lethemba PV solar energy | Solar Photovoltaic (PV) | January-December 2017 | 2017 | 75 | 158252.1864 | 0 | 158252.1864 | 0 | 158252.1864 | 0 | 158252.1864
NERSA/IPP/NC/658-280 | Solar Capital De Aar 3 (Pty) Ltd | Private | iLanga Lethemba PV energy facility | Solar Photovoltaic (PV) | January-December 2017 | 2017 | 75 | 184923.4987 | 0 | 184923.4987 | 0 | 184923.4987 | 0 | 184923.4987
NERSA/IPP/FS/658-267 | Stortemelk Hydro (Pty) Ltd | Private | Stortemelk Hydro (Pty) Ltd | Hydro | January-December 2017 | 2017 | 4.31 | 31055.95 | 0 | 31055.95 | 122.704 | 30933.246 | 5.7 | 30927.546
NERSA/IPP/NC/658-281 | Sublunary Trading (Pty) Ltd RF | Private | Upington Solar PV Project | Solar Photovoltaic (PV) | January-December 2017 | 2017 | 8.9 | 18783.634 | 0 | 18783.634 | 111.123 | 18672.511 | 0 | 18672.511
NER/MUNIC/G/MP32/01 | Thaba Chweu Local Municipality | Municipality | Lydenburg Hydro | Hydro | January-December 2017 | 2017 | 3.35 | 9885.3604 | 0 | 9885.3604 | 0 | 0 | 0 | 9885.3604
NER/IPP/L/822-76 | Tobivox (Pty) Ltd | Private | Tom Burke Solar Park | Solar Photovoltaic (PV) | January-December 2017 | 2017 | 60 | 116393.063 | 0 | 116393.063 | 1077.2 | 115315.863 | 0 | 115315.863
NER/G/THS | Tongaat Hulett Sugar Mills and Estates Limited | Private | Amatikulu | Bagasse and Coal | January-December 2017 | 2017 | 12 | 32778 | 0 | 32778 | 7788.3 | 40566.3 | 39675.4 | 890.9
NER/G/THS | Tongaat Hulett Sugar Mills and Estates Limited | Private | Darnall | Bagasse and Coal | January-December 2017 | 2017 | 12 | 16800 | 0 | 16800 | 4990.1 | 21790.1 | 21790.1 | 0
NER/G/THS | Tongaat Hulett Sugar Mills and Estates Limited | Private | Felixton | Bagasse and Coal | January-December 2017 | 2017 | 32 | 78800 | 0 | 78800 | 7440.8 | 86240.8 | 71739.9 | 14500.9
NER/G/THS | Tongaat Hulett Sugar Mills and Estates Limited | Private | Maidstone | Bagasse and Coal | January-December 2017 | 2017 | 22.5 | 42929.6 | 0 | 42929.6 | 10784.4 | 53714 | 50765.4 | 2948.6
NERSA/IPP/EC/658-282 | Tsitsikamma Community Wind Farm (Pty) Ltd | Private | Tsitsikamma Community Wind Farm | Wind | January-December 2017 | 2017 | 94.8 | 340331 | 0 | 340331 | 528.843 | 339802.157 | 2863.5712 | 336938.5858
NERSA/IPP/KZN/2012 | Umfolozi Sugar Mill (Pty) Ltd | Private | Umfolozi Sugar Mill | Bagasse | January-December 2017 | 2017 | 5 | 41145.648 | 0 | 41145.648 | 2922.1312 | 0 | 42919.3273 | 1148.4519
NER/IPP/WC/658-139 | Umoya Energy (Pty) Ltd | Private | Hopefield Wind Farm | Wind | January-December 2017 | 2017 | 65.4 | 184742.21 | 0 | 184742.21 | 604.455 | 184742.21 | 72 | 182409.5484
NERSA/IPP/WC/658-283 | Vredendal Solar Power Park (Pty) Ltd | Private | Vredendal Solar Power Park | Solar Photovoltaic (PV) | January-December 2017 | 2017 | 8.82 | 19601.81 | 81.07 | 19682.88 | 0 | 19601.81 | 0 | 19601.81
NERSA/IPP/EC/658-284 | Waainek Wind Farm Power (Pty) Ltd | Private | Waainek Wind Farm | Wind | January-December 2017 | 2017 | 23.4 | 95641.6102 | 0 | 95641.6102 | 103.21 | 95538.4002 | 0 | 95538.4002
NERSA/IPP/NC/658-285 | Windfall 59 Properties(Pty) Ltd | Private | Sishen Solar Energy Facility | Solar Photovoltaic (PV) | January-December 2017 | 2017 | 74 | 206664.6452 | 0 | 206664.6452 | 0 | 206664.6452 | 0 | 206664.6452
NER/IPP/NC/658-403 | Xina Solar One (RF) (Pty) Ltd | Private | Xina Solar One | Concentrated Solar Power (CSP) | January-December 2017 | 2017 | 100 | 205620.7269 | 22768.6582 | 182852.0688 | 2666.0811 | 205620.7269 | 22768.6582 | 182852.0688
OCGT
Capacity
[7 empty] | 1726.7 | [6 empty] | 92755.952
| Sasol South Africa (Pty) Limited |  |  |  |  | 2017 | 440 | 7063743.7386 | 40260.0767 | 7023483.6619 | 0 | 7023483.6619 | 6359079.4413 | 664404.2206
7063.7437
7023.4837
[6 empty] | AFA |  | GJ | GAS consumption - GJ | Combustion emissions
| Sasol South Africa (Pty) Limited | Private | Sasol Chemical Industries Plant | Coal | January-December 2017 | 0.54831 | 130.0001
| Sasol South Africa (Pty) Limited | Private | Sasol Synfuels Steam Plant | Coal | January-December 2017 | 0.73182 | 600
| Sasol South Africa (Pty) Limited | Private | Sasolburg Gas Engines Power Plant | Gas | January-December 2017 | 0.66524 | 140.0001 | 2937070.4976 | 6675160.2218 | 3738089.7242
| Sasol South Africa (Pty) Limited | Private | Sasol unit 543 Gas Turbines | Gas | January-December 2017 | 0.84523 | 240 | 6397242.5052 | 21324141.684 | 11941519.343
GWh
| Sasol South Africa (Pty) Limited |  |  | Coal |  |  |  | 4470.879
| Sasol South Africa (Pty) Limited |  |  | Gas |  |  |  | 2592.8647
| Sasol | MWe
| coal | 600 | SRK 2019 Report Number 539945/AIR | secunda
| gasT1 | 118 | SRK 2019 Report Number 539945/AIR | secunda
| gasT2 | 118 | SRK 2019 Report Number 539945/AIR | secunda
| gas turbine | 104 | SRK 2019 Report Number 539945/AIR | secunda
| gas turbine | 104 | SRK 2019 Report Number 539945/AIR | secunda
| gasE | 140 | SASOL media release | sasolburg

## GAS 2000-2029 CY
All data for Calendar years
| Actual data (calculated from Sasol Analyst book) - public domain | [12 empty] | Forecast data
Pipeline gas sales PJ/annum | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029
Natural gas | 0 | 0 | 0 | 0 | 41.2 | 79.3 | 92.3 | 92.9 | 104.7 | 96 | 115.4 | 125.1 | 136.6 | 142.6759 | 149.6564 | 154.6451 | 156 | 156 | 156 | 156 | 156 | 156 | 156 | 156 | 156 | 156 | 156 | 156 | 156 | 156
Methane rich gas | 16.26 | 16.72 | 18.8 | 19.7 | 17.7 | 16.6 | 19.6 | 22.4 | 23.2 | 21.6 | 22.1 | 25.2 | 21.9 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21
Hydrogen rich gas | 24.39 | 25.98 | 27.5 | 28.1 | 11.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Supply | 40.65 | 42.7 | 46.3 | 47.8 | 70.2 | 95.9 | 111.9 | 115.3 | 127.9 | 117.6 | 137.5 | 150.3 | 158.5 | 163.6759 | 170.6564 | 175.6451 | 177 | 177 | 177 | 177 | 177 | 177 | 177 | 177 | 177 | 177 | 177 | 177 | 177 | 177
Sasol internal use of gas | 0 | 0 | 0 | 0 | 27.7 | 48.3 | 59.5 | 58.6 | 71.4 | 56.2 | 78.1 | 86.1 | 99.4 | 99 | 99.0844 | 101.881 | 103.2672 | 103.501 | 103.3431 | 102.9276 | 103.132 | 103.2283 | 102.8947 | 102.8947 | 102.8947 | 102.8947 | 102.8947 | 102.8947 | 102.8947 | 102.9
External market | 40.65 | 42.7 | 46.3 | 47.8 | 42.5 | 47.6 | 52.4 | 56.7 | 56.5 | 61.4 | 59.4 | 64.2 | 59.1 | 64.7 | 71.5721 | 73.764 | 73.7328 | 73.499 | 73.6569 | 74.0724 | 73.868 | 73.7717 | 74.1053 | 74.1053 | 74.1053 | 74.1053 | 74.1053 | 74.1053 | 74.1053 | 74.1
Total Sales | 40.65 | 42.7 | 46.3 | 47.8 | 70.2 | 95.9 | 111.9 | 115.3 | 127.9 | 117.6 | 137.5 | 150.3 | 158.5 | 163.6759 | 170.6564 | 175.6451 | 177 | 177 | 177 | 177 | 177 | 177 | 177 | 177 | 177 | 177 | 177 | 177 | 177 | 177
Sasol synfuels - Secunda |  |  |  |  | 12.3835 | 18.4057 | 19.8146 | 24.3865 | 30.9583 | 29.2777 | 34.292 | 49.3672 | 55.4269 | 47 | 44.204 | 44.4824 | 44.4824 | 44.4824 | 44.4824 | 44.204 | 44.204 | 44.4824 | 44.4824 | 44.4824 | 44.4824 | 44.4824 | 44.4824 | 44.4824 | 44.4824 | 44.5
Gas to FT process Secunda |  |  |  |  | 12.3835 | 18.4057 | 19.8146 | 24.3865 | 30.9583 | 29.2777 | 25.692 | 29.2145 | 35.8439 | 27 | 24.204 | 24.4824 | 24.4824 | 24.4824 | 24.4824 | 24.204 | 24.204 | 24.4824 | 24.4824 | 24.4824 | 24.4824 | 24.4824 | 24.4824 | 24.4824 | 24.4824 | 24.5
Gas to Gas Turbines - Secunda |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 8.6 | 17.4 | 17.9 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20
Sasol new energy |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.4 | 8.3304 | 10.912 | 10.9128 | 10.9128 | 10.9128 | 10.9128 | 10.9128 | 10.9128 | 10.9128 | 10.9128 | 10.9128 | 10.9128 | 10.9128 | 10.9128 | 10.9128 | 10.9128 | 10.9
Gas to Gas Engines - Sasolburg |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.4 | 8.3304 | 10.912 | 10.9128 | 10.9128 | 10.9128 | 10.9128 | 10.9128 | 10.9128 | 10.9128 | 10.9128 | 10.9128 | 10.9128 | 10.9128 | 10.9128 | 10.9128 | 10.9128 | 10.9
Sasol chemicals -Sasolburg |  |  |  |  | 15.3165 | 29.8943 | 39.6854 | 34.2135 | 40.4417 | 26.9223 | 43.808 | 36.7328 | 43.6 | 43.7 | 43.9684 | 46.4859 | 47.872 | 48.1059 | 47.948 | 47.8109 | 48.0153 | 47.8332 | 47.4996 | 47.4996 | 47.4996 | 47.4996 | 47.4996 | 47.4996 | 47.4996 | 47.5
Gas to FT process -Sasolburg |  |  |  |  | 15.3165 | 29.8943 | 39.6854 | 34.2135 | 40.4417 | 26.9223 | 43.808 | 36.7328 | 43.6 | 43.7 | 43.9684 | 46.4859 | 47.872 | 48.1059 | 47.948 | 47.8109 | 48.0153 | 47.8332 | 47.4996 | 47.4996 | 47.4996 | 47.4996 | 47.4996 | 47.4996 | 47.4996 | 47.5
Notes
1. Sasol has recently completed a US$220 million gas project to expand the capacity of the central processing facility (CPF) in Mozambique - increasing capacity to 183 MGJ/a [source:Sasol web-site].
2. Long-term use of 183 MGJ/a is 27 MGJ/a to Mozambique electricity generation market and 156 MGJ/annum to South Africa.
3. A limited amount of gas to Sasol Synfuels can be reallocated from electricity generation to FT process - figures show maximum gas to electricity generation.
4. Sasolburg gas engine power plant comes on line in December 2012.
5. Gas to Sasol chemicals in Sasolburg increases due to wax-expansion project.
6. Sasol has agreements in Mozambique to obtain gas until 2029 [Form 20-F 2012 - public domain]
7. After 2029 - gas supply can continue at same levels if new agreements are in place - maximum capacity remains 183 MGJ/annum with 156 MGJ/annum to RSA without further investment in infrastructure.
mycalcs: | [17 empty] | FY17
total production (bcf) | PJ | [16 empty] | 191.2568
Moz ext sales | PJ | [16 empty] | 26.6336
ZA external sales:
Methane Rich Gas (PJ) | PJ | [16 empty] | 26.7484
Moz Ngas | PJ | [16 empty] | 38.458
Sasol internal use of gas
base chemicals | PJ | [16 empty] | 34.0956
performance chemicals | PJ | [16 empty] | 40.8688
energy | PJ | [16 empty] | 51.2008
Total sasol consumption | [17 empty] | 126.1652
Derek's calculations: SASOL internal usage | PJ |  |  |  | 27.7 | 48.3 | 59.5 | 58.6 | 71.4 | 56.2 | 78.1 | 86.1 | 99.4269 | 99.0304 | 99.0844 | 101.881 | 103.2672 | 103.501 | 103.3431 | 102.9276 | 103.132 | 103.2283 | 102.8947 | 102.8947 | 102.8947 | 102.8947 | 102.8947 | 102.8947 | 102.8947 | 102.9
Sasol synfuels - Secunda |  |  |  |  | 44.71% | 38.11% | 33.3% | 41.62% | 43.36% | 52.1% | 43.91% | 57.34% | 55.75% | 47.46% | 44.61% | 43.66% | 43.08% | 42.98% | 43.04% | 42.95% | 42.86% | 43.09% | 43.23% | 43.23% | 43.23% | 43.23% | 43.23% | 43.23% | 43.23% | 43.25%
Gas to FT process Secunda |  |  |  |  | 100% | 100% | 100% | 100% | 100% | 100% | 74.92% | 59.18% | 64.67% | 57.45% | 54.76% | 55.04% | 55.04% | 55.04% | 55.04% | 54.76% | 54.76% | 55.04% | 55.04% | 55.04% | 55.04% | 55.04% | 55.04% | 55.04% | 55.04% | 55.06%
Gas to Gas Turbines - Secunda |  |  |  |  | 0% | 0% | 0% | 0% | 0% | 0% | 25.08% | 35.25% | 32.29% | 42.55% | 45.24% | 44.96% | 44.96% | 44.96% | 44.96% | 45.24% | 45.24% | 44.96% | 44.96% | 44.96% | 44.96% | 44.96% | 44.96% | 44.96% | 44.96% | 44.94%
Sasol new energy |  |  |  |  | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0.4023% | 8.412% | 11.01% | 10.71% | 10.57% | 10.54% | 10.56% | 10.6% | 10.58% | 10.57% | 10.61% | 10.61% | 10.61% | 10.61% | 10.61% | 10.61% | 10.61% | 10.59%
Gas to Gas Engines - Sasolburg |  |  |  |  | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
Sasol chemicals -Sasolburg |  |  |  |  | 55.29% | 61.89% | 66.7% | 58.38% | 56.64% | 47.9% | 56.09% | 42.66% | 43.85% | 44.13% | 44.37% | 45.63% | 46.36% | 46.48% | 46.4% | 46.45% | 46.56% | 46.34% | 46.16% | 46.16% | 46.16% | 46.16% | 46.16% | 46.16% | 46.16% | 46.16%
Gas to FT process |  |  |  |  | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
Gas to FT process Secunda | [12 empty] | 36.05% |  |  |  |  | 23.65%
Gas to Gas Turbines - Secunda | [12 empty] | 18% |  |  |  |  | 19.32%
Gas to Gas Engines - Sasolburg | [12 empty] | 0.4023% |  |  |  |  | 10.54%
Gas to FT process -Sasolburg | [12 empty] | 43.85% |  |  |  |  | 46.48%
Gas SASOL | 41 | MJ/m3 | DEFF 2020 Calorific Values [CV]
1 mcf nat. gas (LHV) = 10.27 therm = 1.027 mmBtu = 1.082 GJ | 1.082 | GJ/mcf | MIT 2007 Units & Conversions Fact Sheet
| 1.082 | TJ/bcf
| 0.028 | cf->m3 | BP
GAS - bcf | [17 empty] | bcf
total Production | [17 empty] | 166.6
Moz sales | [17 empty] | 23.2
base chemicals | [17 empty] | 29.7
performance chemicals | [17 empty] | 35.6
energy | [17 empty] | 44.6
external sales
methane-rich | [17 empty] | 23.3
ngas-Moz | [17 empty] | 33.5
Note on A36: Fadiel:
Note on S36: Fadiel: Sasol additional analyst handbook 31 Dec2018
Note on A45: Fadiel: Base Chemicals markets a broad portfolio of commodity chemicals globally. The business consists of three key divisions: Polymers, Solvents, and Fertilisers.Our key products include polymers (polyethylene, polypropylene, polyvinyl chloride); solvents (ketones, alcohols, acrylates), chlor-alkali chemicals (caustic soda, hydrochloric acid) and phenolics; as well as mining reagents (cyanide); ammonium nitrate base products; and sulphur derivatives. https://www.sasol.com/about-sasol/strategic-business-units/chemical-business/base-chemicals/overview
Note on A46: Fadiel: Sasol Performance Chemicals develops and markets a broad portfolio of organic and inorganic commodity and specialty chemicals and comprises three key business divisions: Organics, Advanced Materials and Wax. Our offices in 18 countries serve customers around the world with a multifaceted portfolio of state-of-the-art chemical products and solutions for a wide range of applications and industries. Surfactants, surfactant intermediates, fatty alcohols, linear alkyl benzene (LAB), short-chain linear alpha olefins, mineral oil-based and synthetic paraffin waxes, high-purity and ultra-high-purity alumina as well as high-quality carbon solutions form the basis of our key product range.
Note on A47: Fadiel: The Energy Business manages the marketing and sales of all oil, gas and electricity products in Southern Africa, which have been consolidated under a single umbrella. In addition, this cluster oversees Sasol’s international GTL (gas to liquid) ventures in Qatar and Nigeria.
Note on A79: Fadiel: Base Chemicals markets a broad portfolio of commodity chemicals globally. The business consists of three key divisions: Polymers, Solvents, and Fertilisers.Our key products include polymers (polyethylene, polypropylene, polyvinyl chloride); solvents (ketones, alcohols, acrylates), chlor-alkali chemicals (caustic soda, hydrochloric acid) and phenolics; as well as mining reagents (cyanide); ammonium nitrate base products; and sulphur derivatives. https://www.sasol.com/about-sasol/strategic-business-units/chemical-business/base-chemicals/overview
Note on A80: Fadiel: Sasol Performance Chemicals develops and markets a broad portfolio of organic and inorganic commodity and specialty chemicals and comprises three key business divisions: Organics, Advanced Materials and Wax. Our offices in 18 countries serve customers around the world with a multifaceted portfolio of state-of-the-art chemical products and solutions for a wide range of applications and industries. Surfactants, surfactant intermediates, fatty alcohols, linear alkyl benzene (LAB), short-chain linear alpha olefins, mineral oil-based and synthetic paraffin waxes, high-purity and ultra-high-purity alumina as well as high-quality carbon solutions form the basis of our key product range.
Note on A81: Fadiel: The Energy Business manages the marketing and sales of all oil, gas and electricity products in Southern Africa, which have been consolidated under a single umbrella. In addition, this cluster oversees Sasol’s international GTL (gas to liquid) ventures in Qatar and Nigeria.

## SASOL CC 2019 report
Performance data - these are from July to June as per the CDP report Natural Capital: Climate change-related data table | [7 empty] | co2 eq
Footnote |  | 2019 | 2018 | 2017 | 2016 | Level of assurance 2019 |  | 2019 | 2018 | 2017 | 2016
Production performance | [5 empty] | Reasonable
Product meant for external sale (kilotons) | 1 | 18446 | 17836 | 18472 | 18806
Secunda |  | 6736 | 6720 | 6974 | 7019
Sasolburg |  | 1467 | 1585 | 1561 | 1461
Mining |  | 3209 | 3192 | 2976 | 3331
Natref |  | 4271 | 3578 | 3964 | 4067
Eurasia |  | 1277 | 1341 | 1345 | 1309
North America |  | 688 | 707 | 811 | 793
Mozambique |  | 53 | 54 | 64 | 62
Satellite Operations, Strategic Business Units and Functions |  | 745 | 659 | 776 | 763 | [6 empty] | Secunda
Greenhouse gases (GHG) (kilotons) | 2 | [10 empty] | Sasolburg
Direct methane (CH4) |  | 105.04 | 109.18 | 110.68 | 119.25 | Reasonable |  | 2415.92 | 2511.14 | 2545.64 | 2742.75
Secunda |  | 96.16 | 98.34 | 99.52 | 100.1 |  |  | 2211.68 | 2261.82 | 2288.96 | 2302.3
Sasolburg |  | 5.34 | 7.24 | 7.42 | 10.54 |  |  | 122.82 | 166.52 | 170.66 | 242.42
Mining |  | 3.49 | 3.55 | 3.73 | 4.01 |  |  | 80.27 | 81.65 | 85.79 | 92.23
Natref |  | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
Eurasia |  | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
North America |  | 0.04 | 0.04 | 0 | 0 |  |  | 0.92 | 0.92 | 0 | 0
Mozambique |  | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
Satellite Operations, Strategic Business Units and Functions |  | 0.01 | 0.01 | 0.01 | 4.61 |  |  | 0.23 | 0.23 | 0.23 | 106.03
Nitrous oxide (N2O) |  | 1.64 | 1.44 | 0.51 | 0.45 | Reasonable |  | 485.44 | 426.24 | 150.96 | 133.2
Secunda |  | 0.9 | 1.18 | 0.34 | 0.31 |  |  | 266.4 | 349.28 | 100.64 | 91.76
Sasolburg |  | 0.73 | 0.26 | 0.16 | 0.14 |  |  | 216.08 | 76.96 | 47.36 | 41.44
Mining |  | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
Natref |  | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
Eurasia |  | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
North America |  | 0.01 | 0.01 | 0 | 0 |  |  | 2.96 | 2.96 | 0 | 0
Mozambique |  | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
Satellite Operations, Strategic Business Units and Functions |  | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
Direct carbon dioxide (CO2) Scope 1 |  | 56004 | 56731 | 57281 | 58329 | Reasonable |  | 56004 | 56731 | 57281 | 58329
Secunda |  | 48418 | 49411 | 49284 | 50152 |  |  | 48418 | 49411 | 49284 | 50152
Sasolburg |  | 4557 | 4517 | 5017 | 5196 |  |  | 4557 | 4517 | 5017 | 5196
Mining |  | 16 | 18 | 16 | 16 |  |  | 16 | 18 | 16 | 16
Natref |  | 932 | 791 | 903 | 938 |  |  | 932 | 791 | 903 | 938
Eurasia |  | 610 | 698 | 773 | 748 |  |  | 610 | 698 | 773 | 748
North America |  | 1163 | 988 | 978 | 953 |  |  | 1163 | 988 | 978 | 953
Mozambique |  | 261 | 258 | 260 | 273 |  |  | 261 | 258 | 260 | 273
Satellite Operations, Strategic Business Units and Functions |  | 47 | 51 | 51 | 53 |  |  | 47 | 51 | 51 | 53
Indirect carbon dioxide (CO2) Scope 2 | 3 | 7653 | 7756 | 7659 | 8046 | Reasonable
Secunda |  | 5596 | 5580 | 5598 | 6089 |  | Secunda | 50896.08 | 52022.1 | 51673.6 | 52546.06
Sasolburg |  | 400 | 723 | 527 | 468 |  | Sasolburg | 4895.9 | 4760.48 | 5235.02 | 5479.86
Mining |  | 726 | 697 | 705 | 739 |  | Mining | 96.27 | 99.65 | 101.79 | 108.23
Natref |  | 289 | 248 | 263 | 261 |  | Natref | 932 | 791 | 903 | 938
Eurasia |  | 108 | 125 | 170 | 162
North America |  | 498 | 349 | 360 | 289
Mozambique |  | 0 | 0 | 0 | 0
Satellite Operations, Strategic Business Units and Functions |  | 36 | 37 | 37 | 39
Indirect carbon dioxide (CO2) Scope 3 | 4 | 0.05 | 0.59 | 0.78 | 0.52 | Limited
Secunda |  | 0 | 0 | 0 | 0
Sasolburg |  | 0 | 0 | 0 | 0
Mining |  | 0 | 0 | 0 | 0
Natref |  | 0 | 0 | 0 | 0
Eurasia |  | 0 | 0 | 0 | 0
North America |  | 0 | 0 | 0 | 0
Mozambique |  | 0.05 | 0.59 | 0.78 | 0.52
Satellite Operations, Strategic Business Units and Functions |  | 0 | 0 | 0 | 0
Sasol Climate Change Report 2019 31
Footnote |  | 2019 | 2018 | 2017 | 2016 | Level of assurance 2019
Total greenhouse gas (CO2 equivalent) |  | 66 558 | 67 412 | 67 632 | 69 250 | Reasonable
Secunda |  | 56 492 | 57 586 | 57 267 | 58 633
Sasolburg |  | 5 297 | 5 483 | 5 763 | 5 947
Mining |  | 822 | 797 | 807 | 847
Natref |  | 1 221 | 1 038 | 1 166 | 1 199
Eurasia |  | 717 | 823 | 943 | 910
North America |  | 1 665 | 1 340 | 1 338 | 1 242
Mozambique |  | 261 | 258 | 260 | 274
Satellite Operations, Strategic Business Units and Functions |  | 83 | 88 | 89 | 198
GHG intensity (CO2 equivalent/ton production) |  | 3,61 | 3,78 | 3,66 | 3,68 | Reasonable
Secunda |  | 8,39 | 8,57 | 8,21 | 8,35
Sasolburg |  | 3,61 | 3,46 | 3,69 | 4,07
Mining |  | 0,26 | 0,25 | 0,27 | 0,25
Natref |  | 0,29 | 0,29 | 0,29 | 0,29
Eurasia |  | 0,56 | 0,61 | 0,70 | 0,70
North America |  | 2,42 | 1,89 | 1,65 | 1,57
Mozambique |  | 4,92 | 4,74 | 4,08 | 4,38
Satellite Operations, Strategic Business Units and Functions |  | 0,11 | 0,13 | 0,11 | 0,26
Footnotes 1. Production – external sales – The boundaries of this figure only include a product that is destined for sale to Sasol customers, and does not include a product utilised or sold between the Sasol Group of companies. Stable production was experienced at Natref and resulted in increased production for external sale as compared to last year, in which planned shutdowns occurred. 2. Greenhouse gas (GHG) emissions have been calculated and reported in accordance with the GHG Protocol (www.ghgprotocol.org) and the Intergovernmental Panel on Climate Change (IPCC) 2006 Guidelines. In our GHG measurements, in which included 100% of the emissions for the following joint ventures (JVs): Natref in South Africa and Sasol Exploration & Production International. Data for those JVs where we do not have a significant influence or operational control is not included. An external assurance provider has once again independently verified our direct and indirect emissions levels. Our GHG emission intensity (tons CO2e per ton of production – external sales) decreased to 3,61 in 2019 from 3,78 in 2018, due to an increase in the production – meant for external sale and a decrease in total GHG CO2e. 3. The reduced indirect CO2 Scope 2 emissions for this year are as a result of the Secunda Synfuels Operations total shutdown in September 2018, as well as less electricity purchased by Sasolburg Operations following increased own electricity generation. 4. Indirect carbon dioxide (CO2) Scope 3 includes only the emissions as a result of the charter flights to Vilanculos, Mozambique, where our Central Processing Facility is located. These flights have been discontinued resulting in the significant decrease in these Scope 3 emissions. Our other categories of Scope 3 emissions can be found on page 11 and in our CDP submission available at www.sasol.com.
32 Sasol Climate Change Report 2019
|  | 66 558 | 67 412 | 67 632 | 69 250
Footnote |  | 2019 | 2018 | 2017 | 2016 |  |  | 2019 | 2018 | 2017 | 2016
Total greenhouse gas (CO2 equivalent) |  | 66558.41 | 67424.97 | 67637.38 | 69251.47 |  | total | 58905.36 | 59668.38 | 59977.6 | 61204.95
Secunda |  | 56492.08 | 57 586 | 57267 | 58 633 |  | Secunda | 50896.08 | 52022.1 | 51673.6 | 52546.06
Sasolburg |  | 5295.9 | 5 483 | 5 763 | 5 947 |  | Sasolburg | 4895.9 | 4760.48 | 5235.02 | 5479.86
Mining |  | 822.27 | 797 | 807 | 847 |  | Mining | 96.27 | 99.65 | 101.79 | 108.23
Natref |  | 1221 | 1 038 | 1 166 | 1 199 |  | Natref | 932 | 791 | 903 | 938
Eurasia |  | 718 | 823 | 943 | 910 |  | Eurasia | 610 | 698 | 773 | 748
North America |  | 1664.88 | 1 340 | 1 338 | 1 242 |  | North America | 1166.88 | 991.88 | 978 | 953
Mozambique |  | 261.05 | 258 | 260 | 274 |  | Mozambique | 261 | 258 | 260 | 273
Satellite Operations, Strategic Business Units and Functions |  | 83.23 | 88 | 89 | 198 |  | Satellite Operations, Strategic Business Units and Functions | 47.23 | 51.23 | 51.23 | 159.03
|  | GWPs | SAR
|  | N20 | 296
|  | ch4 | 23
|  |  | SAR | TAR
|  |  | 310 | 296
|  |  | 21 | 23

## FTS-Unallocated
|  | Tot Mass | 3.0571 |  |  |  |  | 1.6892 | Tot prices (mass x unit price)
ecoivent naming | subcompartment | Unit | Unallocated 2017 | Unallocated 2017 APV (kg, m3, m2, kWh) | APV from Sasol's reports | APV unit | Prices €/kg (except for Natural gas, €/m3) | Prices (mass x unit price) | Economic allocation
petrol, unleaded |  | kg | 1 | 2820000000 | 2820 | kton | 0.71 | 0.71 | 42.03%
diesel, low sulphur |  | kg | 0.33333 | 940000000 | 940 | kton | 0.4 | 0.13333 | 7.893%
liquified petroleum gas |  | kg | 0.048227 | 136000000 | 136 | kton | 0.276 | 0.013311 | 0.788%
heavy fuel oil |  | kg | 0.24255 | 684000000 | 684 | kton | 0.138 | 0.033472 | 1.982%
natural gas, high pressure (methane rich gas) |  | m3 | 0.20957 | 591000000 | 591 | kton | 0.166 | 0.034789 | 2.06%
Acetone, liquid |  | kg | 0.062057 | 175000000 | 175 | kton | 0.58 | 0.035993 | 2.131%
methyl ethyl ketone |  | kg | 0.021277 | 60000000 | 60 | kton | 0.634 | 0.013489 | 0.7986%
Ethanol, withou water, in 99.7% solution state from ethylene |  | kg | 0.040426 | 114000000 | 114 | kton | 0.365 | 0.014755 | 0.8735%
1-Propanol |  | kg | 0.024823 | 70000000 | 70 | kton | 0.83 | 0.020603 | 1.22%
iso-Buthanol |  | kg | 0.0053191 | 15000000 | 15 | kton | 0.546 | 0.0029043 | 0.1719%
1-Butanol |  | kg | 0.053191 | 150000000 | 150 | kton | 0.546 | 0.029043 | 1.719%
chemical, organics |  | kg | 0.035355 | 99700000 | 99.7 | kton | 1.57 | 0.055507 | 3.286%
ethylene, average |  | kg | 0.21809 | 615000000 | 615 | kton | 0.754 | 0.16444 | 9.735%
propylene |  | kg | 0.33688 | 950000000 | 950 | kton | 0.754 | 0.25401 | 15.04%
sulphur |  | kg | 0.064986 | 183261129.4118 | 183.2611 | kton | 0.131 | 0.0085132 | 0.504%
methanol |  | kg | 0.049645 | 140000000 | 140 | kton | 1.6 | 0.079433 | 4.703%
butyl acrylate |  | kg | 0.028369 | 80000000 | 80 | kton | 0.22 | 0.0062411 | 0.3695%
liquid fuels - black products (pitches and tars) |  | kg | 0.16859 | 475410000 | 475.41 | kton | 0.233 | 0.03928 | 2.325%
ammonia, liquid |  | kg | 0.11442 | 322655194.9025 | 322.6552 | Kton | 0.35 | 0.040046 | 2.371%
100%
inert waste = non-hazardous waste (to disposal) |  | kg | 0.05461 | 154000000 | 154 | kton
hard coal ash |  | kg | 4.1582 | 11726000000 | 11726 | kton
Oxigen (air) | air | kg | 4.5649 | 12873000000 | 12873 | kton
water (surface) | raw water | m3 | 0.033005 | 93075000 | 93075 | 1000 m3
land, occupation, industrial area | land | m2*a | 0.029255 | 82500000 | 82.5 | km2
land, transformation to industrial area | land | m2 | 0.00033475 | 944000
land, transformation from unspecified | land | m2 | 0.00033475 | 944000
Carbon dioxide, fossil | non-urban air or from high stakcs | kg | 20.3124 | 57281000000 | 57281 | kton
Water to air | non-urban air or from high stakcs | kg | 20.7811 | 58602777777.7778 | 58602.7778 | 1000 m3
Sulfur oxides (Sox) | non-urban air or from high stakcs | kg | 0.071631 | 202000000 | 202 | kton
Hydrogen sulfide (H2S) | non-urban air or from high stakcs | kg | 0.02305 | 65000000 | 65 | kton
Nitrogen oxides (Nox) | non-urban air or from high stakcs | kg | 0.053901 | 152000000 | 152 | kton
Particulates (fly-ash) >10 micron | non-urban air or from high stakcs | kg | 0.0035461 | 10000000 | 10 | kton
VOC, volatile organic compounds | non-urban air or from high stakcs | kg | 0.014539 | 41000000 | 41 | kton
Methane, fossil | non-urban air or from high stakcs | kg | 0.039362 | 111000000 | 111 | kton
Water to water |  | kg | 0.010395 | 29313000 | 29313 | 1000 m3
others (chemicals) |  | kg | 1.4621 | 4123000000 | 4123 | kton
petroleum refynery |  | unit | 2.6596e-09 |  | 7.5 | unit
hard coal |  | kg | 14.539 | 41000000000 | 41000 | kton
eletricity, medium voltage |  | kWh | 2.5894 | 7301985600 | 7301985.6 | MWh
natural gas, high pressure |  | m3 | 0.90044 | 1790000000 | 1790 | kton
Natural gas conversion calculation | 1 | kg
| 1.4186 | m3

## Secunda Emissions 2019 etc
2019 CC Report
[8 empty] | source | type | satim |  | emissions | steam share
[8 empty] | 1 | eskom | tch_sup |  | 6
[8 empty] | 2 | gas turbine | tch_pwr |  | 1
[8 empty] | 3a | steam for drives | tch_sup |  | 8 | 0.34783
[8 empty] | 3b | steam for gasifiers |  |  | 9 | 0.3913
[8 empty] | 4 | steam for elec | tch_pwr |  | 6 | 0.26087
[8 empty] | 5a | process emissions | flaring - CO2 (from NIR 2017 submission) | tch_sup | 2
[8 empty] | 5b | process emissions | FT- Rectisol | tch_sup | 22 |  | Rectisol SO operates a Rectisol plant on the Sasol One Site. The purpose of the Rectisol plant is “dew point correction” and “CO2” removal. Due to the high concentration of methane and other hydrocarbons, the gas from the first two stages are sent to the flare and those from the last three stages are sent to atmosphere through the Steam Station 1 Stacks. Emissions include hydrocarbons specifically with high concentrations of CO2 emitted from the Steam Station 1 stacks.
[8 empty] | 5a | process emissions | FT -Benfield | tch_sup | 3 |  | SO operates a Benfield unit as part of the ammonia plant on the Sasol One Site. The Benfield unit consists of a CO2 absorber column were CO2 is removed from the process gas stream using the benfield solution. The benfield solution is regenerated in the desorber column were the CO2 is desorbed to the atmosphere.
[8 empty] | secunda total |  |  |  | 57
[8 empty] | tch-SUP |  |  |  | 50
[8 empty] | tch-SUP | FT -boiler emissions |  |  | 17
[8 empty] | tch-SUP | FT -non-boiler emissions |  |  | 27
cdp 2015/16 (july-june)
Scope 1
Wed 01 Jul 2015 - Thu 30 Jun 2016 | Please state how much fuel in MWh your organization has consumed (for energy purposes) during the reporting year
103164727
Please complete the table by breaking down the total "Fuel" figure entered above by fuel type
| Diesel/Gas Oil | 94521 | (MWh) | 340275.6 | GJ | 0.34028 | PJ
| gasoline | 2446 | (MWh) | 8805.6 | GJ | 0.0088056 | PJ
| Bituminous-coal | 84661823 | (MWh) | 304782562.8 | GJ | 304.7826 | PJ
| fuel gas | 18405938 | (MWh) | 66261376.8 | GJ | 66.2614 | PJ
Please state how much heat, steam, and cooling in MWh your organization has purchased and consumed during the reporting year
| Heat | 0 | (MWh)
| Steam | 75393332 | (MWh) | 271415995.2 | GJ | 271.416 | PJ
| Cooling | 0 | (MWh)
Please report how much electricity you produce in MWh, and how much electricity you consume in MWh
|  | 17271234 | (MWh)
|  | 8002743 | (MWh)
|  | 9268491 | (MWh)
|  | 0 | (MWh)
|  | 0 | (MWh)

## Calorific values
SOURCE: DoE DIGEST OF SOUTH AFRICAN ENERGY STATISTICS 2009
CALORIFIC VALUES
Energy carrier | Calorific Value | Units | Density (kg/l) | Intensity (MJ/kg)
LPG | 26.7 | MJ/l | 0.541 | 49.353
Paraffin Power | 37.5 | MJ/l | 0.813 | 46.1255
Gas SASOL | 41 | MJ/m3 |  |  | cf->m3 | 0.028
Diesel | 38.1 | MJ/l | 0.839 | 45.4112 | kg->m3 | 1.4186
Electricity | 3.6 | MJ/kWh
Natural Gas | 41 | MJ/m3
Heavy Fuel Oil | 41.6 | MJ/l | 0.984 | 42.2764
Petrol | 34.2 | MJ/l | 0.723 | 47.3029
Paraffin Illuminating CSS (StatsSA) Data | 37 | MJ/l | 0.788 | 46.9543
Aviation Gas | 33.9 | MJ/l | 0.73 | 46.4384
Jet Fuel | 34.3 | MJ/l | 0.793 | 43.2535
Coal Eskom Average | 20.1 | MJ/kg
Coal (General purpose) | 24.3 | MJ/kg
Coal (Coking) | 30.1 | MJ/kg
Coke | 27.9 | MJ/kg
Coke oven gas | 17.3 | MJ/m3
Blast furnace gas | 3.1 | MJ/m3
Refinery gas (estimate) | 20 | MJ/m3
Bagasse (wet) | 7 | MJ/kg
Bagasse fibre (dry) 14.0 MJ/kg | 14 | MJ/kg
Biomass (wood dry typical) | 17 | MJ/kg
Coal gas (Sasol) | 18 | MJ/m3
Coal gas (Sasol - methane rich) | 38 | MJ/m3
Wood Charcoal | 31 | MJ/kg
Oil equivalent | 41.868 | MJ/kg
Source: Clark JA (1990), "Low cost, small-scale charcoal production in the Western Cape", UCT EBE MSc Thesis
https://www.convertunits.com/from/tonne+of+oil+equivalent/to/TJ
Short tonne | 0.90718 | ton/tonne
https://www.convertunits.com/from/short+tons/to/metric+tons
1069.2